Icon

Description automatically generated

4

UL-US-2410050-0

E484896-20240314

**Certificate of**

**Compliance**

|  |  |  |
| --- | --- | --- |
|  |  | Issued to: |
| **Certificate Number:**  UL-US-2410050-0  **Report Reference:**  E484896-20240314  **Issue Date:**  2024-03-19 |  | **Ningbo Dorabo Electric Co., Ltd**  **No.869, Changxing Rd, Changhe Town CIXI, Zhejiang Sheng 315300**  **China**  This certificate confirms that representative samples of:  **XCFR2 - Terminal Blocks - Component**  **See Addendum Page for Product Designation(s).**  Have been evaluated by UL in accordance with the component requirements in the Standard(s) indicated on this Certificate. UL Recognized components are incomplete in certain constructional features or restricted in performance capabilities and are intended for installation in complete equipment submitted for investigation to UL LLC.  **UL 1059, Edition 5, Issued 2019-11-26, Revised 2022-07-28**  Additional Information:  See UL Product iQ® at <https://iq.ulprospector.com> for additional information. |
|  |  | This Certificate of Compliance indicates that representative samples of the product described in the certification report have met the requirements for UL certification. It does not provide authorization to apply the UL Recognized Component Mark. Only the Authorization Page that references the Follow-Up Services Procedure for ongoing surveillance provides authorization to apply the UL Mark.  Only those products bearing the UL Recognized Component Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.  Look for the UL Recognized Component Mark on the product. 1 |

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements.

|  |  |
| --- | --- |
|  |  |
| **Model** | **Product Description** |
| DB135-10.16@6 | Terminal Blocks |
| DB136-10.16@6 | Terminal Blocks |
| DB136H-10.16@7 | Terminal Blocks |
| DB136H-12.7@7 | Terminal Blocks |
| DBT50-6.35@6, DBT50G-6.35@6, DBT50P-6.35@6 | Terminal Blocks |
| DBT50-7.62@6, DBT50-8.25@6, DBT50P-7.62@6, DBT50P-8.25@6, DBT50G-7.62@6, DBT50G-8.25@6 | Terminal Blocks |
| DBT50-9.5@6, DBT50P-9.5@6, DBT50B-9.5@6, DBT50G-9.5@6 | Terminal Blocks |

A red circle with black background

Description automatically generated

4

UL-CA-2408676-0

E484896-20240314

**Certificate of**

**Compliance**

|  |  |  |
| --- | --- | --- |
|  |  | Issued to: |
| **Certificate Number:**  UL-CA-2408676-0  **Report Reference:**  E484896-20240314  **Issue Date:**  2024-03-19 |  | **Ningbo Dorabo Electric Co., Ltd**  **No.869, Changxing Rd, Changhe Town CIXI, Zhejiang Sheng 315300**  **China**  This certificate confirms that representative samples of:  **XCFR8 - Terminal Blocks Certified for Canada - Component**  **See Addendum Page for Product Designation(s).**  Have been evaluated by UL in accordance with the component requirements in the Standard(s) indicated on this Certificate. UL Recognized components are incomplete in certain constructional features or restricted in performance capabilities and are intended for installation in complete equipment submitted for investigation to UL LLC.  **CSA C22.2 No. 158, Edition 4, Issue Date 2023-02, Revision Date 2023-12**  Additional Information:  See UL Product iQ® at <https://iq.ulprospector.com> for additional information. |
|  |  | This Certificate of Compliance indicates that representative samples of the product described in the certification report have met the requirements for UL certification. It does not provide authorization to apply the UL Recognized Component Mark. Only the Authorization Page that references the Follow-Up Services Procedure for ongoing surveillance provides authorization to apply the UL Mark.  Only those products bearing the UL Recognized Component Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services.  Look for the UL Recognized Component Mark on the product. 1 |

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements.

|  |  |
| --- | --- |
|  |  |
| **Model** | **Product Description** |
| DB135-10.16@6 | Terminal Blocks |
| DB136-10.16@6 | Terminal Blocks |
| DB136H-10.16@7 | Terminal Blocks |
| DB136H-12.7@7 | Terminal Blocks |
| DBT50-6.35@6, DBT50G-6.35@6, DBT50P-6.35@6 | Terminal Blocks |
| DBT50-7.62@6, DBT50-8.25@6, DBT50P-7.62@6, DBT50P-8.25@6, DBT50G-7.62@6, DBT50G-8.25@6 | Terminal Blocks |
| DBT50-9.5@6, DBT50P-9.5@6, DBT50B-9.5@6, DBT50G-9.5@6 | Terminal Blocks |